## Buildings
building_id | cluster_id | lv_group | area_m2 | height_m | age_years | energy_label | peak_demand_kw | base_load_kw | annual_consumption_kwh | roof_area_m2 | solar_potential_kw | solar_suitability | has_solar | has_battery | has_heat_pump | cluster_probability | network_centrality | intervention_priority | morning_peak_kw | evening_peak_kw | night_minimum_kw | load_factor
BLDG_0000 | 13 | LV_GROUP_0004 | 100 | 10 | 20 | D | 5 | 1 | 5000 | 50 | 10 | high | FALSE | FALSE | FALSE | 1 | 0.5 | 0.5 | 9.6702 | 9.9494 | 2.2089 | 0.5802

## Clusters
cluster_id | lv_group | num_buildings | total_area_m2 | avg_age_years | total_peak_demand_kw | total_base_load_kw | total_annual_consumption_mwh | self_sufficiency | complementarity_score | peak_reduction | network_stress | peak_hours | valley_hours | peak_valley_ratio
13 | LV_GROUP_0004 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5, 6, 8, 9, 20] | [1, 11, 12, 19, 21] | 2.6473

## Temporal
cluster_id | timestep | hour | minute | time_label | consumption_kw | generation_kw | net_demand_kw | self_sufficiency_instant | is_peak | is_valley | is_surplus
13 | 0 | 0 | 0 | 00:00 | 3.1432 | 4.5152 | -1.372 | 1.4365 | FALSE | FALSE | TRUE
13 | 1 | 0 | 15 | 00:15 | 3.0288 | 4.6927 | -1.6639 | 1.5494 | FALSE | FALSE | TRUE
13 | 2 | 0 | 30 | 00:30 | 9.3049 | 4.1281 | 5.1769 | 0.44364 | TRUE | FALSE | FALSE
13 | 3 | 0 | 45 | 00:45 | 2.99 | 4.9725 | -1.9825 | 1.663 | FALSE | FALSE | TRUE
13 | 4 | 1 | 0 | 01:00 | 5.059 | 4.373 | 0.68604 | 0.86439 | FALSE | FALSE | FALSE
13 | 5 | 1 | 15 | 01:15 | 4.8182 | 1.3781 | 3.4401 | 0.28602 | FALSE | FALSE | FALSE
13 | 6 | 1 | 30 | 01:30 | 4.0755 | 2.2905 | 1.785 | 0.56201 | FALSE | FALSE | FALSE
13 | 7 | 1 | 45 | 01:45 | 2.2089 | 2.0306 | 0.17834 | 0.91926 | FALSE | TRUE | FALSE
13 | 8 | 2 | 0 | 02:00 | 3.6777 | 2.3163 | 1.3615 | 0.62981 | FALSE | FALSE | FALSE
13 | 9 | 2 | 15 | 02:15 | 2.3556 | 0.051352 | 2.3043 | 0.0218 | FALSE | TRUE | FALSE
13 | 10 | 2 | 30 | 02:30 | 9.3372 | 4.8792 | 4.458 | 0.52256 | TRUE | FALSE | FALSE
13 | 11 | 2 | 45 | 02:45 | 3.1107 | 2.4875 | 0.62319 | 0.79966 | FALSE | FALSE | FALSE
13 | 12 | 3 | 0 | 03:00 | 5.9947 | 2.7494 | 3.2453 | 0.45864 | FALSE | FALSE | FALSE
13 | 13 | 3 | 15 | 03:15 | 2.4765 | 4.5524 | -2.0759 | 1.8382 | FALSE | TRUE | TRUE
13 | 14 | 3 | 30 | 03:30 | 6.8663 | 4.2091 | 2.6572 | 0.61301 | FALSE | FALSE | FALSE
13 | 15 | 3 | 45 | 03:45 | 7.9761 | 1.1946 | 6.7815 | 0.14978 | FALSE | FALSE | FALSE
13 | 16 | 4 | 0 | 04:00 | 8.0385 | 3.1626 | 4.8759 | 0.39343 | FALSE | FALSE | FALSE
13 | 17 | 4 | 15 | 04:15 | 6.5123 | 2.3116 | 4.2008 | 0.35495 | FALSE | FALSE | FALSE
13 | 18 | 4 | 30 | 04:30 | 4.741 | 2.9802 | 1.7608 | 0.6286 | FALSE | FALSE | FALSE
13 | 19 | 4 | 45 | 04:45 | 9.5658 | 2.8729 | 6.6929 | 0.30033 | TRUE | FALSE | FALSE
13 | 20 | 5 | 0 | 05:00 | 7.9133 | 4.711 | 3.2023 | 0.59533 | FALSE | FALSE | FALSE
13 | 21 | 5 | 15 | 05:15 | 8.7853 | 1.37 | 7.4153 | 0.15594 | FALSE | FALSE | FALSE
13 | 22 | 5 | 30 | 05:30 | 9.1545 | 2.7663 | 6.3882 | 0.30218 | TRUE | FALSE | FALSE
13 | 23 | 5 | 45 | 05:45 | 8.9148 | 1.5796 | 7.3351 | 0.17719 | FALSE | FALSE | FALSE
13 | 24 | 6 | 0 | 06:00 | 7.9552 | 4.8196 | 3.1356 | 0.60584 | FALSE | FALSE | FALSE
13 | 25 | 6 | 15 | 06:15 | 7.4549 | 4.9641 | 2.4908 | 0.66588 | FALSE | FALSE | FALSE
13 | 26 | 6 | 30 | 06:30 | 8.2927 | 1.111 | 7.1817 | 0.13398 | FALSE | FALSE | FALSE
13 | 27 | 6 | 45 | 06:45 | 9.6702 | 1.7988 | 7.8714 | 0.18601 | TRUE | FALSE | FALSE
13 | 28 | 7 | 0 | 07:00 | 8.7786 | 4.4151 | 4.3635 | 0.50293 | FALSE | FALSE | FALSE
13 | 29 | 7 | 15 | 07:15 | 4.9397 | 4.5652 | 0.37445 | 0.92419 | FALSE | FALSE | FALSE
13 | 30 | 7 | 30 | 07:30 | 5.9967 | 0.43629 | 5.5604 | 0.072755 | FALSE | FALSE | FALSE
13 | 31 | 7 | 45 | 07:45 | 2.0805 | 4.0421 | -1.9616 | 1.9428 | FALSE | TRUE | TRUE
13 | 32 | 8 | 0 | 08:00 | 5.0666 | 0.53272 | 4.5339 | 0.10514 | FALSE | FALSE | FALSE
13 | 33 | 8 | 15 | 08:15 | 9.4605 | 0.98799 | 8.4725 | 0.10443 | TRUE | FALSE | FALSE
13 | 34 | 8 | 30 | 08:30 | 8.9419 | 2.9714 | 5.9705 | 0.3323 | TRUE | FALSE | FALSE
13 | 35 | 8 | 45 | 08:45 | 7.6903 | 0.874 | 6.8163 | 0.11365 | FALSE | FALSE | FALSE
13 | 36 | 9 | 0 | 09:00 | 7.6381 | 2.9427 | 4.6955 | 0.38526 | FALSE | FALSE | FALSE
13 | 37 | 9 | 15 | 09:15 | 8.5319 | 1.2311 | 7.3008 | 0.1443 | FALSE | FALSE | FALSE
13 | 38 | 9 | 30 | 09:30 | 9.9901 | 0.41823 | 9.5718 | 0.041864 | TRUE | FALSE | FALSE
13 | 39 | 9 | 45 | 09:45 | 3.1247 | 1.9577 | 1.1671 | 0.62651 | FALSE | FALSE | FALSE
13 | 40 | 10 | 0 | 10:00 | 3.3717 | 0.60533 | 2.7664 | 0.17953 | FALSE | FALSE | FALSE
13 | 41 | 10 | 15 | 10:15 | 6.9606 | 1.0765 | 5.8841 | 0.15466 | FALSE | FALSE | FALSE
13 | 42 | 10 | 30 | 10:30 | 2.6249 | 1.3378 | 1.2872 | 0.50964 | FALSE | FALSE | FALSE
13 | 43 | 10 | 45 | 10:45 | 8.5426 | 1.7962 | 6.7464 | 0.21027 | FALSE | FALSE | FALSE
13 | 44 | 11 | 0 | 11:00 | 5.0275 | 3.5758 | 1.4517 | 0.71125 | FALSE | FALSE | FALSE
13 | 45 | 11 | 15 | 11:15 | 2.4979 | 3.1726 | -0.67471 | 1.2701 | FALSE | TRUE | TRUE
13 | 46 | 11 | 30 | 11:30 | 3.5275 | 0.81376 | 2.7137 | 0.23069 | FALSE | FALSE | FALSE
13 | 47 | 11 | 45 | 11:45 | 2.0803 | 4.7323 | -2.6519 | 2.2748 | FALSE | TRUE | TRUE
13 | 48 | 12 | 0 | 12:00 | 3.487 | 0.76148 | 2.7255 | 0.21838 | FALSE | FALSE | FALSE
13 | 49 | 12 | 15 | 12:15 | 5.932 | 1.5388 | 4.3932 | 0.25941 | FALSE | FALSE | FALSE
13 | 50 | 12 | 30 | 12:30 | 4.3049 | 1.287 | 3.0179 | 0.29897 | FALSE | FALSE | FALSE
13 | 51 | 12 | 45 | 12:45 | 4.6212 | 3.9733 | 0.64784 | 0.85981 | FALSE | FALSE | FALSE
13 | 52 | 13 | 0 | 13:00 | 7.9613 | 3.1466 | 4.8148 | 0.39523 | FALSE | FALSE | FALSE
13 | 53 | 13 | 15 | 13:15 | 6.7997 | 4.7467 | 2.053 | 0.69808 | FALSE | FALSE | FALSE
13 | 54 | 13 | 30 | 13:30 | 2.1407 | 0.65384 | 1.4868 | 0.30544 | FALSE | TRUE | FALSE
13 | 55 | 13 | 45 | 13:45 | 3.416 | 0.18539 | 3.2306 | 0.054271 | FALSE | FALSE | FALSE
13 | 56 | 14 | 0 | 14:00 | 5.2549 | 4.1948 | 1.0601 | 0.79827 | FALSE | FALSE | FALSE
13 | 57 | 14 | 15 | 14:15 | 3.4194 | 4.7082 | -1.2888 | 1.3769 | FALSE | FALSE | TRUE
13 | 58 | 14 | 30 | 14:30 | 7.2218 | 1.1574 | 6.0645 | 0.16026 | FALSE | FALSE | FALSE
13 | 59 | 14 | 45 | 14:45 | 5.1946 | 4.1407 | 1.0539 | 0.79711 | FALSE | FALSE | FALSE
13 | 60 | 15 | 0 | 15:00 | 7.3064 | 1.3019 | 6.0046 | 0.17818 | FALSE | FALSE | FALSE
13 | 61 | 15 | 15 | 15:15 | 7.2764 | 4.0874 | 3.189 | 0.56173 | FALSE | FALSE | FALSE
13 | 62 | 15 | 30 | 15:30 | 5.3843 | 2.8213 | 2.563 | 0.52398 | FALSE | FALSE | FALSE
13 | 63 | 15 | 45 | 15:45 | 3.8975 | 1.3096 | 2.5878 | 0.33602 | FALSE | FALSE | FALSE
13 | 64 | 16 | 0 | 16:00 | 6.9086 | 0.56491 | 6.3437 | 0.081768 | FALSE | FALSE | FALSE
13 | 65 | 16 | 15 | 16:15 | 2.329 | 2.3719 | -0.042996 | 1.0185 | FALSE | TRUE | TRUE
13 | 66 | 16 | 30 | 16:30 | 7.7546 | 2.6374 | 5.1172 | 0.3401 | FALSE | FALSE | FALSE
13 | 67 | 16 | 45 | 16:45 | 9.6602 | 2.2484 | 7.4117 | 0.23275 | TRUE | FALSE | FALSE
13 | 68 | 17 | 0 | 17:00 | 7.7025 | 0.33015 | 7.3723 | 0.042863 | FALSE | FALSE | FALSE
13 | 69 | 17 | 15 | 17:15 | 5.0953 | 3.0698 | 2.0255 | 0.60248 | FALSE | FALSE | FALSE
13 | 70 | 17 | 30 | 17:30 | 7.038 | 3.249 | 3.789 | 0.46164 | FALSE | FALSE | FALSE
13 | 71 | 17 | 45 | 17:45 | 1.4355 | 0.58543 | 0.85007 | 0.40782 | FALSE | TRUE | FALSE
13 | 72 | 18 | 0 | 18:00 | 4.7482 | 4.4936 | 0.25457 | 0.94639 | FALSE | FALSE | FALSE
13 | 73 | 18 | 15 | 18:15 | 5.6486 | 3.4359 | 2.2127 | 0.60827 | FALSE | FALSE | FALSE
13 | 74 | 18 | 30 | 18:30 | 2.9241 | 0.04334 | 2.8807 | 0.014822 | FALSE | FALSE | FALSE
13 | 75 | 18 | 45 | 18:45 | 7.9566 | 0.94469 | 7.0119 | 0.11873 | FALSE | FALSE | FALSE
13 | 76 | 19 | 0 | 19:00 | 2.5043 | 0.63761 | 1.8667 | 0.25461 | FALSE | FALSE | FALSE
13 | 77 | 19 | 15 | 19:15 | 4.2055 | 2.4978 | 1.7077 | 0.59393 | FALSE | FALSE | FALSE
13 | 78 | 19 | 30 | 19:30 | 6.6504 | 3.5055 | 3.1449 | 0.52711 | FALSE | FALSE | FALSE
13 | 79 | 19 | 45 | 19:45 | 3.7782 | 1.5374 | 2.2407 | 0.40693 | FALSE | FALSE | FALSE
13 | 80 | 20 | 0 | 20:00 | 7.6438 | 1.8812 | 5.7626 | 0.2461 | FALSE | FALSE | FALSE
13 | 81 | 20 | 15 | 20:15 | 9.9494 | 3.5855 | 6.3639 | 0.36037 | TRUE | FALSE | FALSE
13 | 82 | 20 | 30 | 20:30 | 8.127 | 0.92634 | 7.2007 | 0.11398 | FALSE | FALSE | FALSE
13 | 83 | 20 | 45 | 20:45 | 3.7992 | 0.68028 | 3.1189 | 0.17906 | FALSE | FALSE | FALSE
13 | 84 | 21 | 0 | 21:00 | 2.8132 | 0.99525 | 1.818 | 0.35377 | FALSE | FALSE | FALSE
13 | 85 | 21 | 15 | 21:15 | 2.6227 | 2.964 | -0.34129 | 1.1301 | FALSE | FALSE | TRUE
13 | 86 | 21 | 30 | 21:30 | 3.6361 | 3.957 | -0.32087 | 1.0882 | FALSE | FALSE | TRUE
13 | 87 | 21 | 45 | 21:45 | 8.9016 | 0.50799 | 8.3936 | 0.057067 | FALSE | FALSE | FALSE
13 | 88 | 22 | 0 | 22:00 | 1.3548 | 3.3967 | -2.042 | 2.5073 | FALSE | TRUE | TRUE
13 | 89 | 22 | 15 | 22:15 | 7.8528 | 3.726 | 4.1269 | 0.47447 | FALSE | FALSE | FALSE
13 | 90 | 22 | 30 | 22:30 | 7.3403 | 2.9344 | 4.4059 | 0.39976 | FALSE | FALSE | FALSE
13 | 91 | 22 | 45 | 22:45 | 8.6683 | 4.6592 | 4.0091 | 0.53749 | FALSE | FALSE | FALSE
13 | 92 | 23 | 0 | 23:00 | 8.2317 | 1.9161 | 6.3156 | 0.23277 | FALSE | FALSE | FALSE
13 | 93 | 23 | 15 | 23:15 | 8.3192 | 1.3503 | 6.9689 | 0.16231 | FALSE | FALSE | FALSE
13 | 94 | 23 | 30 | 23:30 | 2.9762 | 1.2547 | 1.7215 | 0.42159 | FALSE | FALSE | FALSE
13 | 95 | 23 | 45 | 23:45 | 3.9469 | 3.9475 | -0.00060592 | 1.0002 | FALSE | FALSE | TRUE

## Interventions
target_type | target_id | intervention_type | size_kw | cost_eur | annual_savings_eur | co2_reduction_tons | payback_years | priority | network_benefit | cascade_potential | recommendation
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | battery_storage | 0 | 24350.8453 | 2995.154 | 0 | 0 | 1517.0651 | 0.5 | 0.5 | grid_stability
cluster | CLUSTER_0000 | solar_pv | 0 | 15960.3242 | 0 | 13.9812 | 0 | 317.8121 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 15353.9487 | 0 | 13.4501 | 0 | 317.4783 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 15334.409 | 0 | 13.4329 | 0 | 317.4676 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 15158.4186 | 0 | 13.2788 | 0 | 317.3707 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 5770.7193 | 0 | 5.0552 | 0 | 312.2037 | 0.5 | 0.5 | reduced_grid_stress

## Network
cluster_id | num_buildings | avg_centrality | max_centrality | cascade_1_hop | cascade_2_hop | cascade_3_hop | transformer_loading | line_utilization | voltage_deviation | correlation_1_hop | correlation_2_hop | correlation_3_hop | network_role | intervention_impact
13 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | Connector | 0.35

## Economics
cluster_id | num_buildings | total_investment_eur | solar_investment_eur | battery_investment_eur | annual_savings_eur | annual_co2_reduction_tons | avg_payback_years | roi_10_years | npv_20_years | investment_per_building_eur | savings_per_building_eur | economic_viability
13 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Unknown