## Buildings
building_id | cluster_id | lv_group | area_m2 | height_m | age_years | energy_label | peak_demand_kw | base_load_kw | annual_consumption_kwh | roof_area_m2 | solar_potential_kw | solar_suitability | has_solar | has_battery | has_heat_pump | cluster_probability | network_centrality | intervention_priority | morning_peak_kw | evening_peak_kw | night_minimum_kw | load_factor
BLDG_0000 | 0 | LV_GROUP_0004 | 100 | 10 | 20 | D | 5 | 1 | 5000 | 50 | 10 | high | FALSE | FALSE | FALSE | 1 | 0.5 | 0.5 | 9.1639 | 9.8919 | 1.4183 | 0.55342

## Clusters
cluster_id | lv_group | num_buildings | total_area_m2 | avg_age_years | total_peak_demand_kw | total_base_load_kw | total_annual_consumption_mwh | self_sufficiency | complementarity_score | peak_reduction | network_stress | peak_hours | valley_hours | peak_valley_ratio
0 | LV_GROUP_0004 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9, 10, 12, 14, 19] | [2, 5, 8, 16, 21] | 2.4189

## Temporal
cluster_id | timestep | hour | minute | time_label | consumption_kw | generation_kw | net_demand_kw | self_sufficiency_instant | is_peak | is_valley | is_surplus
0 | 0 | 0 | 0 | 00:00 | 4.2018 | 4.2776 | -0.075798 | 1.018 | FALSE | FALSE | TRUE
0 | 1 | 0 | 15 | 00:15 | 8.0487 | 3.6361 | 4.4126 | 0.45177 | FALSE | FALSE | FALSE
0 | 2 | 0 | 30 | 00:30 | 5.3951 | 0.49175 | 4.9034 | 0.091146 | FALSE | FALSE | FALSE
0 | 3 | 0 | 45 | 00:45 | 5.4161 | 1.4137 | 4.0024 | 0.26102 | FALSE | FALSE | FALSE
0 | 4 | 1 | 0 | 01:00 | 6.965 | 1.6678 | 5.2973 | 0.23945 | FALSE | FALSE | FALSE
0 | 5 | 1 | 15 | 01:15 | 2.8096 | 2.0544 | 0.75522 | 0.7312 | FALSE | FALSE | FALSE
0 | 6 | 1 | 30 | 01:30 | 7.7115 | 3.112 | 4.5995 | 0.40356 | FALSE | FALSE | FALSE
0 | 7 | 1 | 45 | 01:45 | 7.7536 | 1.4974 | 6.2562 | 0.19312 | FALSE | FALSE | FALSE
0 | 8 | 2 | 0 | 02:00 | 8.3921 | 3.3428 | 5.0494 | 0.39832 | FALSE | FALSE | FALSE
0 | 9 | 2 | 15 | 02:15 | 2.692 | 1.8703 | 0.82162 | 0.69479 | FALSE | FALSE | FALSE
0 | 10 | 2 | 30 | 02:30 | 1.4183 | 2.4351 | -1.0168 | 1.7169 | FALSE | TRUE | TRUE
0 | 11 | 2 | 45 | 02:45 | 4.2459 | 1.0872 | 3.1587 | 0.25605 | FALSE | FALSE | FALSE
0 | 12 | 3 | 0 | 03:00 | 6.7824 | 4.0418 | 2.7405 | 0.59593 | FALSE | FALSE | FALSE
0 | 13 | 3 | 15 | 03:15 | 6.4733 | 3.7168 | 2.7565 | 0.57418 | FALSE | FALSE | FALSE
0 | 14 | 3 | 30 | 03:30 | 4.4572 | 2.26 | 2.1972 | 0.50704 | FALSE | FALSE | FALSE
0 | 15 | 3 | 45 | 03:45 | 8.5057 | 1.3005 | 7.2052 | 0.1529 | FALSE | FALSE | FALSE
0 | 16 | 4 | 0 | 04:00 | 8.2938 | 3.4945 | 4.7993 | 0.42134 | FALSE | FALSE | FALSE
0 | 17 | 4 | 15 | 04:15 | 5.6166 | 1.8494 | 3.7672 | 0.32927 | FALSE | FALSE | FALSE
0 | 18 | 4 | 30 | 04:30 | 8.8543 | 1.6917 | 7.1626 | 0.19106 | TRUE | FALSE | FALSE
0 | 19 | 4 | 45 | 04:45 | 2.2112 | 2.5188 | -0.30763 | 1.1391 | FALSE | FALSE | TRUE
0 | 20 | 5 | 0 | 05:00 | 2.5609 | 1.1942 | 1.3668 | 0.4663 | FALSE | FALSE | FALSE
0 | 21 | 5 | 15 | 05:15 | 8.9196 | 4.3492 | 4.5703 | 0.4876 | TRUE | FALSE | FALSE
0 | 22 | 5 | 30 | 05:30 | 3.4519 | 1.385 | 2.0669 | 0.40123 | FALSE | FALSE | FALSE
0 | 23 | 5 | 45 | 05:45 | 2.7431 | 3.4526 | -0.70951 | 1.2587 | FALSE | FALSE | TRUE
0 | 24 | 6 | 0 | 06:00 | 2.948 | 2.4662 | 0.48182 | 0.83656 | FALSE | FALSE | FALSE
0 | 25 | 6 | 15 | 06:15 | 2.2026 | 0.4658 | 1.7368 | 0.21148 | FALSE | TRUE | FALSE
0 | 26 | 6 | 30 | 06:30 | 7.1834 | 4.2316 | 2.9518 | 0.58908 | FALSE | FALSE | FALSE
0 | 27 | 6 | 45 | 06:45 | 6.5858 | 1.9796 | 4.6062 | 0.30058 | FALSE | FALSE | FALSE
0 | 28 | 7 | 0 | 07:00 | 1.6708 | 4.0677 | -2.3969 | 2.4345 | FALSE | TRUE | TRUE
0 | 29 | 7 | 15 | 07:15 | 4.7488 | 2.2818 | 2.467 | 0.4805 | FALSE | FALSE | FALSE
0 | 30 | 7 | 30 | 07:30 | 9.1639 | 1.7679 | 7.3961 | 0.19291 | TRUE | FALSE | FALSE
0 | 31 | 7 | 45 | 07:45 | 2.9294 | 0.9693 | 1.9601 | 0.33088 | FALSE | FALSE | FALSE
0 | 32 | 8 | 0 | 08:00 | 1.3035 | 2.1645 | -0.86107 | 1.6606 | FALSE | TRUE | TRUE
0 | 33 | 8 | 15 | 08:15 | 1.894 | 2.6279 | -0.73385 | 1.3874 | FALSE | TRUE | TRUE
0 | 34 | 8 | 30 | 08:30 | 1.6061 | 4.7444 | -3.1382 | 2.9539 | FALSE | TRUE | TRUE
0 | 35 | 8 | 45 | 08:45 | 7.3032 | 1.3798 | 5.9234 | 0.18894 | FALSE | FALSE | FALSE
0 | 36 | 9 | 0 | 09:00 | 8.755 | 2.6111 | 6.1439 | 0.29824 | TRUE | FALSE | FALSE
0 | 37 | 9 | 15 | 09:15 | 7.2816 | 3.5861 | 3.6955 | 0.49249 | FALSE | FALSE | FALSE
0 | 38 | 9 | 30 | 09:30 | 8.6975 | 1.564 | 7.1335 | 0.17982 | FALSE | FALSE | FALSE
0 | 39 | 9 | 45 | 09:45 | 4.5507 | 4.1286 | 0.42204 | 0.90726 | FALSE | FALSE | FALSE
0 | 40 | 10 | 0 | 10:00 | 7.1197 | 2.7788 | 4.3409 | 0.3903 | FALSE | FALSE | FALSE
0 | 41 | 10 | 15 | 10:15 | 2.533 | 0.48625 | 2.0467 | 0.19197 | FALSE | FALSE | FALSE
0 | 42 | 10 | 30 | 10:30 | 9.8564 | 0.60874 | 9.2476 | 0.061761 | TRUE | FALSE | FALSE
0 | 43 | 10 | 45 | 10:45 | 7.7718 | 3.9875 | 3.7843 | 0.51307 | FALSE | FALSE | FALSE
0 | 44 | 11 | 0 | 11:00 | 2.387 | 2.7708 | -0.38375 | 1.1608 | FALSE | FALSE | TRUE
0 | 45 | 11 | 15 | 11:15 | 4.5898 | 3.7391 | 0.85076 | 0.81464 | FALSE | FALSE | FALSE
0 | 46 | 11 | 30 | 11:30 | 3.2912 | 4.975 | -1.6838 | 1.5116 | FALSE | FALSE | TRUE
0 | 47 | 11 | 45 | 11:45 | 9.8105 | 2.6209 | 7.1896 | 0.26715 | TRUE | FALSE | FALSE
0 | 48 | 12 | 0 | 12:00 | 4.2568 | 0.89427 | 3.3625 | 0.21008 | FALSE | FALSE | FALSE
0 | 49 | 12 | 15 | 12:15 | 6.268 | 3.1331 | 3.1349 | 0.49986 | FALSE | FALSE | FALSE
0 | 50 | 12 | 30 | 12:30 | 8.5724 | 3.4821 | 5.0904 | 0.4062 | FALSE | FALSE | FALSE
0 | 51 | 12 | 45 | 12:45 | 7.8784 | 2.6107 | 5.2677 | 0.33138 | FALSE | FALSE | FALSE
0 | 52 | 13 | 0 | 13:00 | 8.5461 | 0.71468 | 7.8314 | 0.083626 | FALSE | FALSE | FALSE
0 | 53 | 13 | 15 | 13:15 | 6.3372 | 1.5376 | 4.7996 | 0.24263 | FALSE | FALSE | FALSE
0 | 54 | 13 | 30 | 13:30 | 7.6503 | 3.039 | 4.6113 | 0.39724 | FALSE | FALSE | FALSE
0 | 55 | 13 | 45 | 13:45 | 3.6192 | 0.84388 | 2.7753 | 0.23317 | FALSE | FALSE | FALSE
0 | 56 | 14 | 0 | 14:00 | 6.1736 | 3.6942 | 2.4794 | 0.59839 | FALSE | FALSE | FALSE
0 | 57 | 14 | 15 | 14:15 | 9.7065 | 4.749 | 4.9574 | 0.48926 | TRUE | FALSE | FALSE
0 | 58 | 14 | 30 | 14:30 | 1.8045 | 4.8045 | -3 | 2.6625 | FALSE | TRUE | TRUE
0 | 59 | 14 | 45 | 14:45 | 9.5034 | 3.3099 | 6.1935 | 0.34828 | TRUE | FALSE | FALSE
0 | 60 | 15 | 0 | 15:00 | 8.6136 | 1.9161 | 6.6975 | 0.22245 | FALSE | FALSE | FALSE
0 | 61 | 15 | 15 | 15:15 | 2.2512 | 3.1461 | -0.89492 | 1.3975 | FALSE | FALSE | TRUE
0 | 62 | 15 | 30 | 15:30 | 5.7296 | 1.5682 | 4.1614 | 0.2737 | FALSE | FALSE | FALSE
0 | 63 | 15 | 45 | 15:45 | 4.7269 | 2.5273 | 2.1996 | 0.53466 | FALSE | FALSE | FALSE
0 | 64 | 16 | 0 | 16:00 | 3.973 | 2.6036 | 1.3694 | 0.65532 | FALSE | FALSE | FALSE
0 | 65 | 16 | 15 | 16:15 | 4.6478 | 4.0918 | 0.55601 | 0.88037 | FALSE | FALSE | FALSE
0 | 66 | 16 | 30 | 16:30 | 1.9036 | 3.423 | -1.5194 | 1.7982 | FALSE | TRUE | TRUE
0 | 67 | 16 | 45 | 16:45 | 6.7113 | 0.92337 | 5.7879 | 0.13759 | FALSE | FALSE | FALSE
0 | 68 | 17 | 0 | 17:00 | 3.0516 | 1.4715 | 1.5801 | 0.48221 | FALSE | FALSE | FALSE
0 | 69 | 17 | 15 | 17:15 | 6.2567 | 2.5871 | 3.6696 | 0.41349 | FALSE | FALSE | FALSE
0 | 70 | 17 | 30 | 17:30 | 4.7806 | 4.4956 | 0.28506 | 0.94037 | FALSE | FALSE | FALSE
0 | 71 | 17 | 45 | 17:45 | 6.2483 | 0.36429 | 5.884 | 0.058302 | FALSE | FALSE | FALSE
0 | 72 | 18 | 0 | 18:00 | 6.9901 | 1.1211 | 5.8689 | 0.16039 | FALSE | FALSE | FALSE
0 | 73 | 18 | 15 | 18:15 | 5.2496 | 2.8199 | 2.4297 | 0.53716 | FALSE | FALSE | FALSE
0 | 74 | 18 | 30 | 18:30 | 3.486 | 1.0158 | 2.4703 | 0.29138 | FALSE | FALSE | FALSE
0 | 75 | 18 | 45 | 18:45 | 7.6219 | 3.1162 | 4.5057 | 0.40885 | FALSE | FALSE | FALSE
0 | 76 | 19 | 0 | 19:00 | 6.5522 | 0.44574 | 6.1065 | 0.068029 | FALSE | FALSE | FALSE
0 | 77 | 19 | 15 | 19:15 | 3.7995 | 4.5518 | -0.75231 | 1.198 | FALSE | FALSE | TRUE
0 | 78 | 19 | 30 | 19:30 | 9.8919 | 1.5882 | 8.3037 | 0.16056 | TRUE | FALSE | FALSE
0 | 79 | 19 | 45 | 19:45 | 8.5086 | 4.1738 | 4.3348 | 0.49054 | FALSE | FALSE | FALSE
0 | 80 | 20 | 0 | 20:00 | 3.9357 | 0.031328 | 3.9044 | 0.0079598 | FALSE | FALSE | FALSE
0 | 81 | 20 | 15 | 20:15 | 7.5075 | 3.7395 | 3.768 | 0.4981 | FALSE | FALSE | FALSE
0 | 82 | 20 | 30 | 20:30 | 7.2523 | 2.107 | 5.1453 | 0.29052 | FALSE | FALSE | FALSE
0 | 83 | 20 | 45 | 20:45 | 1.5575 | 2.8445 | -1.287 | 1.8263 | FALSE | TRUE | TRUE
0 | 84 | 21 | 0 | 21:00 | 4.1697 | 0.45087 | 3.7188 | 0.10813 | FALSE | FALSE | FALSE
0 | 85 | 21 | 15 | 21:15 | 4.2761 | 4.4529 | -0.17674 | 1.0413 | FALSE | FALSE | TRUE
0 | 86 | 21 | 30 | 21:30 | 2.4875 | 2.0128 | 0.47462 | 0.80919 | FALSE | FALSE | FALSE
0 | 87 | 21 | 45 | 21:45 | 2.3257 | 2.2971 | 0.028619 | 0.98769 | FALSE | FALSE | FALSE
0 | 88 | 22 | 0 | 22:00 | 6.6698 | 0.33262 | 6.3372 | 0.049869 | FALSE | FALSE | FALSE
0 | 89 | 22 | 15 | 22:15 | 3.6711 | 3.2083 | 0.4628 | 0.87394 | FALSE | FALSE | FALSE
0 | 90 | 22 | 30 | 22:30 | 1.2873 | 0.34693 | 0.94035 | 0.26951 | FALSE | TRUE | FALSE
0 | 91 | 22 | 45 | 22:45 | 7.3871 | 2.6757 | 4.7114 | 0.36221 | FALSE | FALSE | FALSE
0 | 92 | 23 | 0 | 23:00 | 4.953 | 3.9545 | 0.99848 | 0.79841 | FALSE | FALSE | FALSE
0 | 93 | 23 | 15 | 23:15 | 3.9209 | 0.55004 | 3.3708 | 0.14029 | FALSE | FALSE | FALSE
0 | 94 | 23 | 30 | 23:30 | 3.4935 | 4.0619 | -0.56842 | 1.1627 | FALSE | FALSE | TRUE
0 | 95 | 23 | 45 | 23:45 | 9.2269 | 2.0521 | 7.1748 | 0.2224 | TRUE | FALSE | FALSE

## Interventions
target_type | target_id | intervention_type | size_kw | cost_eur | annual_savings_eur | co2_reduction_tons | payback_years | priority | network_benefit | cascade_potential | recommendation
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | battery_storage | 0 | 24980.1254 | 3072.5554 | 0 | 0 | 1548.1514 | 0.5 | 0.5 | grid_stability
cluster | CLUSTER_0000 | solar_pv | 0 | 15348.0918 | 0 | 13.4449 | 0 | 317.4751 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 15247.2785 | 0 | 13.3566 | 0 | 317.4196 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 14965.3446 | 0 | 13.1096 | 0 | 317.2644 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 11996.4055 | 0 | 10.5089 | 0 | 315.6303 | 0.5 | 0.5 | reduced_grid_stress

## Network
cluster_id | num_buildings | avg_centrality | max_centrality | cascade_1_hop | cascade_2_hop | cascade_3_hop | transformer_loading | line_utilization | voltage_deviation | correlation_1_hop | correlation_2_hop | correlation_3_hop | network_role | intervention_impact
0 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | Connector | 0.35

## Economics
cluster_id | num_buildings | total_investment_eur | solar_investment_eur | battery_investment_eur | annual_savings_eur | annual_co2_reduction_tons | avg_payback_years | roi_10_years | npv_20_years | investment_per_building_eur | savings_per_building_eur | economic_viability
0 | 1 | 282537.2458 | 0 | 0 | 3072.5554 | 80.42 | 0 | -0.89125 | -244246.4137 | 282537.2458 | 3072.5554 | Unknown