## Buildings
building_id | cluster_id | lv_group | area_m2 | height_m | age_years | energy_label | peak_demand_kw | base_load_kw | annual_consumption_kwh | roof_area_m2 | solar_potential_kw | solar_suitability | has_solar | has_battery | has_heat_pump | cluster_probability | network_centrality | intervention_priority | morning_peak_kw | evening_peak_kw | night_minimum_kw | load_factor
BLDG_0000 | 0 | LV_GROUP_0004 | 100 | 10 | 20 | D | 5 | 1 | 5000 | 50 | 10 | high | FALSE | FALSE | FALSE | 1 | 0.5 | 0.5 | 8.9223 | 9.1344 | 1.349 | 0.4911

## Clusters
cluster_id | lv_group | num_buildings | total_area_m2 | avg_age_years | total_peak_demand_kw | total_base_load_kw | total_annual_consumption_mwh | self_sufficiency | complementarity_score | peak_reduction | network_stress | peak_hours | valley_hours | peak_valley_ratio
0 | LV_GROUP_0004 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [0, 4, 7, 14, 21] | [8, 9, 11, 17, 19] | 3.8711

## Temporal
cluster_id | timestep | hour | minute | time_label | consumption_kw | generation_kw | net_demand_kw | self_sufficiency_instant | is_peak | is_valley | is_surplus
0 | 0 | 0 | 0 | 00:00 | 5.615 | 1.1196 | 4.4954 | 0.1994 | FALSE | FALSE | FALSE
0 | 1 | 0 | 15 | 00:15 | 8.9193 | 1.4762 | 7.4432 | 0.1655 | TRUE | FALSE | FALSE
0 | 2 | 0 | 30 | 00:30 | 4.3285 | 2.7531 | 1.5753 | 0.63605 | FALSE | FALSE | FALSE
0 | 3 | 0 | 45 | 00:45 | 7.2777 | 4.0888 | 3.1889 | 0.56183 | FALSE | FALSE | FALSE
0 | 4 | 1 | 0 | 01:00 | 3.8176 | 3.0271 | 0.79046 | 0.79294 | FALSE | FALSE | FALSE
0 | 5 | 1 | 15 | 01:15 | 3.5137 | 4.1439 | -0.6302 | 1.1794 | FALSE | FALSE | TRUE
0 | 6 | 1 | 30 | 01:30 | 2.8236 | 2.8239 | -0.00030869 | 1.0001 | FALSE | FALSE | TRUE
0 | 7 | 1 | 45 | 01:45 | 3.9302 | 4.9391 | -1.0089 | 1.2567 | FALSE | FALSE | TRUE
0 | 8 | 2 | 0 | 02:00 | 3.748 | 0.27763 | 3.4704 | 0.074072 | FALSE | FALSE | FALSE
0 | 9 | 2 | 15 | 02:15 | 3.5099 | 0.74599 | 2.7639 | 0.21254 | FALSE | FALSE | FALSE
0 | 10 | 2 | 30 | 02:30 | 9.7114 | 1.0423 | 8.669 | 0.10733 | TRUE | FALSE | FALSE
0 | 11 | 2 | 45 | 02:45 | 5.4527 | 0.59068 | 4.862 | 0.10833 | FALSE | FALSE | FALSE
0 | 12 | 3 | 0 | 03:00 | 2.037 | 3.1213 | -1.0842 | 1.5322 | FALSE | FALSE | TRUE
0 | 13 | 3 | 15 | 03:15 | 8.2949 | 1.4531 | 6.8418 | 0.17518 | FALSE | FALSE | FALSE
0 | 14 | 3 | 30 | 03:30 | 3.7286 | 3.7443 | -0.015717 | 1.0042 | FALSE | FALSE | TRUE
0 | 15 | 3 | 45 | 03:45 | 4.3097 | 3.2218 | 1.0879 | 0.74757 | FALSE | FALSE | FALSE
0 | 16 | 4 | 0 | 04:00 | 1.349 | 2.4933 | -1.1443 | 1.8482 | FALSE | TRUE | TRUE
0 | 17 | 4 | 15 | 04:15 | 6.0735 | 2.9242 | 3.1493 | 0.48146 | FALSE | FALSE | FALSE
0 | 18 | 4 | 30 | 04:30 | 9.505 | 0.70153 | 8.8035 | 0.073807 | TRUE | FALSE | FALSE
0 | 19 | 4 | 45 | 04:45 | 9.9999 | 3.5084 | 6.4915 | 0.35084 | TRUE | FALSE | FALSE
0 | 20 | 5 | 0 | 05:00 | 4.8242 | 1.0729 | 3.7513 | 0.2224 | FALSE | FALSE | FALSE
0 | 21 | 5 | 15 | 05:15 | 3.9394 | 2.1162 | 1.8233 | 0.53718 | FALSE | FALSE | FALSE
0 | 22 | 5 | 30 | 05:30 | 3.4072 | 3.2643 | 0.14287 | 0.95807 | FALSE | FALSE | FALSE
0 | 23 | 5 | 45 | 05:45 | 6.1556 | 3.2552 | 2.9005 | 0.52881 | FALSE | FALSE | FALSE
0 | 24 | 6 | 0 | 06:00 | 6.3979 | 0.036042 | 6.3619 | 0.0056334 | FALSE | FALSE | FALSE
0 | 25 | 6 | 15 | 06:15 | 5.9207 | 0.62733 | 5.2934 | 0.10595 | FALSE | FALSE | FALSE
0 | 26 | 6 | 30 | 06:30 | 1.0791 | 1.8573 | -0.7782 | 1.7211 | FALSE | TRUE | TRUE
0 | 27 | 6 | 45 | 06:45 | 3.6461 | 4 | -0.35391 | 1.0971 | FALSE | FALSE | TRUE
0 | 28 | 7 | 0 | 07:00 | 8.9223 | 3.8085 | 5.1138 | 0.42685 | TRUE | FALSE | FALSE
0 | 29 | 7 | 15 | 07:15 | 2.7649 | 0.5406 | 2.2243 | 0.19552 | FALSE | FALSE | FALSE
0 | 30 | 7 | 30 | 07:30 | 5.5234 | 0.57293 | 4.9504 | 0.10373 | FALSE | FALSE | FALSE
0 | 31 | 7 | 45 | 07:45 | 8.4205 | 2.3355 | 6.085 | 0.27736 | FALSE | FALSE | FALSE
0 | 32 | 8 | 0 | 08:00 | 1.9004 | 3.5852 | -1.6848 | 1.8865 | FALSE | TRUE | TRUE
0 | 33 | 8 | 15 | 08:15 | 4.8536 | 4.9678 | -0.11421 | 1.0235 | FALSE | FALSE | TRUE
0 | 34 | 8 | 30 | 08:30 | 3.569 | 4.3778 | -0.80882 | 1.2266 | FALSE | FALSE | TRUE
0 | 35 | 8 | 45 | 08:45 | 2.5984 | 3.7615 | -1.1631 | 1.4476 | FALSE | FALSE | TRUE
0 | 36 | 9 | 0 | 09:00 | 5.2223 | 0.048089 | 5.1742 | 0.0092084 | FALSE | FALSE | FALSE
0 | 37 | 9 | 15 | 09:15 | 3.6243 | 1.1789 | 2.4455 | 0.32526 | FALSE | FALSE | FALSE
0 | 38 | 9 | 30 | 09:30 | 1.6688 | 0.07851 | 1.5903 | 0.047045 | FALSE | TRUE | FALSE
0 | 39 | 9 | 45 | 09:45 | 3.3909 | 3.312 | 0.078946 | 0.97672 | FALSE | FALSE | FALSE
0 | 40 | 10 | 0 | 10:00 | 3.6238 | 2.521 | 1.1028 | 0.69568 | FALSE | FALSE | FALSE
0 | 41 | 10 | 15 | 10:15 | 6.0452 | 0.15593 | 5.8893 | 0.025794 | FALSE | FALSE | FALSE
0 | 42 | 10 | 30 | 10:30 | 4.0437 | 2.5724 | 1.4713 | 0.63616 | FALSE | FALSE | FALSE
0 | 43 | 10 | 45 | 10:45 | 4.0157 | 3.1171 | 0.89858 | 0.77623 | FALSE | FALSE | FALSE
0 | 44 | 11 | 0 | 11:00 | 4.6313 | 4.3532 | 0.27811 | 0.93995 | FALSE | FALSE | FALSE
0 | 45 | 11 | 15 | 11:15 | 2.1855 | 1.8198 | 0.36571 | 0.83266 | FALSE | FALSE | FALSE
0 | 46 | 11 | 30 | 11:30 | 4.4612 | 4.2632 | 0.198 | 0.95562 | FALSE | FALSE | FALSE
0 | 47 | 11 | 45 | 11:45 | 2.7452 | 3.9785 | -1.2333 | 1.4493 | FALSE | FALSE | TRUE
0 | 48 | 12 | 0 | 12:00 | 4.7287 | 3.7206 | 1.0081 | 0.78682 | FALSE | FALSE | FALSE
0 | 49 | 12 | 15 | 12:15 | 3.6942 | 2.0925 | 1.6016 | 0.56644 | FALSE | FALSE | FALSE
0 | 50 | 12 | 30 | 12:30 | 5.0756 | 1.7247 | 3.3508 | 0.33981 | FALSE | FALSE | FALSE
0 | 51 | 12 | 45 | 12:45 | 4.3635 | 3.1681 | 1.1955 | 0.72603 | FALSE | FALSE | FALSE
0 | 52 | 13 | 0 | 13:00 | 7.7665 | 3.3292 | 4.4372 | 0.42867 | FALSE | FALSE | FALSE
0 | 53 | 13 | 15 | 13:15 | 4.4807 | 3.8372 | 0.64343 | 0.8564 | FALSE | FALSE | FALSE
0 | 54 | 13 | 30 | 13:30 | 5.1423 | 1.0527 | 4.0896 | 0.20472 | FALSE | FALSE | FALSE
0 | 55 | 13 | 45 | 13:45 | 6.4451 | 4.817 | 1.6281 | 0.74739 | FALSE | FALSE | FALSE
0 | 56 | 14 | 0 | 14:00 | 9.1752 | 3.7793 | 5.3959 | 0.4119 | TRUE | FALSE | FALSE
0 | 57 | 14 | 15 | 14:15 | 8.909 | 2.7839 | 6.1251 | 0.31248 | TRUE | FALSE | FALSE
0 | 58 | 14 | 30 | 14:30 | 4.9755 | 2.9926 | 1.9829 | 0.60147 | FALSE | FALSE | FALSE
0 | 59 | 14 | 45 | 14:45 | 4.2928 | 3.5169 | 0.77592 | 0.81925 | FALSE | FALSE | FALSE
0 | 60 | 15 | 0 | 15:00 | 4.4234 | 4.4451 | -0.021712 | 1.0049 | FALSE | FALSE | TRUE
0 | 61 | 15 | 15 | 15:15 | 6.7767 | 2.5246 | 4.252 | 0.37255 | FALSE | FALSE | FALSE
0 | 62 | 15 | 30 | 15:30 | 2.8396 | 3.0989 | -0.25931 | 1.0913 | FALSE | FALSE | TRUE
0 | 63 | 15 | 45 | 15:45 | 1.0985 | 4.5708 | -3.4723 | 4.1609 | FALSE | TRUE | TRUE
0 | 64 | 16 | 0 | 16:00 | 7.6235 | 2.495 | 5.1285 | 0.32728 | FALSE | FALSE | FALSE
0 | 65 | 16 | 15 | 16:15 | 2.9553 | 3.4375 | -0.48218 | 1.1632 | FALSE | FALSE | TRUE
0 | 66 | 16 | 30 | 16:30 | 1.456 | 4.5357 | -3.0796 | 3.1151 | FALSE | TRUE | TRUE
0 | 67 | 16 | 45 | 16:45 | 7.2347 | 4.5041 | 2.7306 | 0.62257 | FALSE | FALSE | FALSE
0 | 68 | 17 | 0 | 17:00 | 1.1411 | 3.1544 | -2.0132 | 2.7642 | FALSE | TRUE | TRUE
0 | 69 | 17 | 15 | 17:15 | 4.9138 | 0.27706 | 4.6367 | 0.056384 | FALSE | FALSE | FALSE
0 | 70 | 17 | 30 | 17:30 | 1.4189 | 4.4214 | -3.0026 | 3.1162 | FALSE | TRUE | TRUE
0 | 71 | 17 | 45 | 17:45 | 5.0381 | 1.3695 | 3.6685 | 0.27184 | FALSE | FALSE | FALSE
0 | 72 | 18 | 0 | 18:00 | 4.6875 | 1.0528 | 3.6347 | 0.2246 | FALSE | FALSE | FALSE
0 | 73 | 18 | 15 | 18:15 | 7.5294 | 1.5736 | 5.9558 | 0.209 | FALSE | FALSE | FALSE
0 | 74 | 18 | 30 | 18:30 | 2.7249 | 4.9627 | -2.2379 | 1.8213 | FALSE | FALSE | TRUE
0 | 75 | 18 | 45 | 18:45 | 4.5461 | 4.4223 | 0.1238 | 0.97277 | FALSE | FALSE | FALSE
0 | 76 | 19 | 0 | 19:00 | 2.5057 | 3.0988 | -0.59312 | 1.2367 | FALSE | FALSE | TRUE
0 | 77 | 19 | 15 | 19:15 | 1.2649 | 3.88 | -2.6151 | 3.0675 | FALSE | TRUE | TRUE
0 | 78 | 19 | 30 | 19:30 | 1.4679 | 4.4241 | -2.9562 | 3.0139 | FALSE | TRUE | TRUE
0 | 79 | 19 | 45 | 19:45 | 3.1772 | 1.6648 | 1.5124 | 0.52399 | FALSE | FALSE | FALSE
0 | 80 | 20 | 0 | 20:00 | 3.7862 | 4.5616 | -0.77545 | 1.2048 | FALSE | FALSE | TRUE
0 | 81 | 20 | 15 | 20:15 | 7.2812 | 0.85548 | 6.4257 | 0.11749 | FALSE | FALSE | FALSE
0 | 82 | 20 | 30 | 20:30 | 5.0577 | 0.83808 | 4.2196 | 0.16571 | FALSE | FALSE | FALSE
0 | 83 | 20 | 45 | 20:45 | 9.1344 | 4.5442 | 4.5902 | 0.49748 | TRUE | FALSE | FALSE
0 | 84 | 21 | 0 | 21:00 | 7.316 | 3.3178 | 3.9982 | 0.4535 | FALSE | FALSE | FALSE
0 | 85 | 21 | 15 | 21:15 | 8.9945 | 0.88114 | 8.1133 | 0.097965 | TRUE | FALSE | FALSE
0 | 86 | 21 | 30 | 21:30 | 8.3992 | 2.5659 | 5.8333 | 0.30549 | FALSE | FALSE | FALSE
0 | 87 | 21 | 45 | 21:45 | 7.8685 | 3.0603 | 4.8082 | 0.38893 | FALSE | FALSE | FALSE
0 | 88 | 22 | 0 | 22:00 | 2.5986 | 0.37255 | 2.226 | 0.14336 | FALSE | FALSE | FALSE
0 | 89 | 22 | 15 | 22:15 | 7.1343 | 1.5332 | 5.6011 | 0.21491 | FALSE | FALSE | FALSE
0 | 90 | 22 | 30 | 22:30 | 3.0569 | 2.9913 | 0.065572 | 0.97855 | FALSE | FALSE | FALSE
0 | 91 | 22 | 45 | 22:45 | 5.7592 | 4.6449 | 1.1143 | 0.80651 | FALSE | FALSE | FALSE
0 | 92 | 23 | 0 | 23:00 | 2.02 | 1.0562 | 0.96376 | 0.52289 | FALSE | FALSE | FALSE
0 | 93 | 23 | 15 | 23:15 | 9.534 | 3.0847 | 6.4493 | 0.32355 | TRUE | FALSE | FALSE
0 | 94 | 23 | 30 | 23:30 | 4.6281 | 2.0169 | 2.6112 | 0.43579 | FALSE | FALSE | FALSE
0 | 95 | 23 | 45 | 23:45 | 7.4876 | 4.1098 | 3.3778 | 0.54888 | FALSE | FALSE | FALSE

## Interventions
target_type | target_id | intervention_type | size_kw | cost_eur | annual_savings_eur | co2_reduction_tons | payback_years | priority | network_benefit | cascade_potential | recommendation
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | battery_storage | 0 | 23531.5685 | 2894.3829 | 0 | 0 | 1476.5929 | 0.5 | 0.5 | grid_stability
cluster | CLUSTER_0000 | solar_pv | 0 | 15923.7969 | 0 | 13.9492 | 0 | 317.792 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 15523.0767 | 0 | 13.5982 | 0 | 317.5714 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 14147.7604 | 0 | 12.3934 | 0 | 316.8144 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 14064.9249 | 0 | 12.3209 | 0 | 316.7689 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 13608.7436 | 0 | 11.9213 | 0 | 316.5178 | 0.5 | 0.5 | reduced_grid_stress

## Network
cluster_id | num_buildings | avg_centrality | max_centrality | cascade_1_hop | cascade_2_hop | cascade_3_hop | transformer_loading | line_utilization | voltage_deviation | correlation_1_hop | correlation_2_hop | correlation_3_hop | network_role | intervention_impact
0 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | Connector | 0.35

## Economics
cluster_id | num_buildings | total_investment_eur | solar_investment_eur | battery_investment_eur | annual_savings_eur | annual_co2_reduction_tons | avg_payback_years | roi_10_years | npv_20_years | investment_per_building_eur | savings_per_building_eur | economic_viability
0 | 1 | 246799.8711 | 0 | 0 | 2894.3829 | 86.683 | 0 | -0.88272 | -210729.4622 | 246799.8711 | 2894.3829 | Unknown