## Buildings
building_id | cluster_id | lv_group | area_m2 | height_m | age_years | energy_label | peak_demand_kw | base_load_kw | annual_consumption_kwh | roof_area_m2 | solar_potential_kw | solar_suitability | has_solar | has_battery | has_heat_pump | cluster_probability | network_centrality | intervention_priority | morning_peak_kw | evening_peak_kw | night_minimum_kw | load_factor
BLDG_0000 | 0 | LV_GROUP_0004 | 100 | 10 | 20 | D | 5 | 1 | 5000 | 50 | 10 | high | FALSE | FALSE | FALSE | 1 | 0.5 | 0.5 | 8.8779 | 9.6749 | 1.6421 | 0.59641

## Clusters
cluster_id | lv_group | num_buildings | total_area_m2 | avg_age_years | total_peak_demand_kw | total_base_load_kw | total_annual_consumption_mwh | self_sufficiency | complementarity_score | peak_reduction | network_stress | peak_hours | valley_hours | peak_valley_ratio
0 | LV_GROUP_0004 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10, 13, 18, 20, 23] | [0, 4, 7, 16, 19] | 3.3129

## Temporal
cluster_id | timestep | hour | minute | time_label | consumption_kw | generation_kw | net_demand_kw | self_sufficiency_instant | is_peak | is_valley | is_surplus
0 | 0 | 0 | 0 | 00:00 | 8.6006 | 0.42795 | 8.1727 | 0.049757 | FALSE | FALSE | FALSE
0 | 1 | 0 | 15 | 00:15 | 2.4732 | 0.67929 | 1.7939 | 0.27466 | FALSE | FALSE | FALSE
0 | 2 | 0 | 30 | 00:30 | 5.3558 | 0.61767 | 4.7382 | 0.11533 | FALSE | FALSE | FALSE
0 | 3 | 0 | 45 | 00:45 | 1.767 | 0.96077 | 0.80618 | 0.54374 | FALSE | TRUE | FALSE
0 | 4 | 1 | 0 | 01:00 | 6.8461 | 2.544 | 4.3021 | 0.3716 | FALSE | FALSE | FALSE
0 | 5 | 1 | 15 | 01:15 | 6.029 | 1.9707 | 4.0583 | 0.32687 | FALSE | FALSE | FALSE
0 | 6 | 1 | 30 | 01:30 | 5.511 | 1.5311 | 3.9799 | 0.27782 | FALSE | FALSE | FALSE
0 | 7 | 1 | 45 | 01:45 | 4.1224 | 0.038936 | 4.0835 | 0.009445 | FALSE | FALSE | FALSE
0 | 8 | 2 | 0 | 02:00 | 5.6798 | 0.14008 | 5.5397 | 0.024663 | FALSE | FALSE | FALSE
0 | 9 | 2 | 15 | 02:15 | 2.9955 | 2.9199 | 0.075618 | 0.97476 | FALSE | FALSE | FALSE
0 | 10 | 2 | 30 | 02:30 | 6.6289 | 4.6705 | 1.9585 | 0.70456 | FALSE | FALSE | FALSE
0 | 11 | 2 | 45 | 02:45 | 3.4055 | 3.7282 | -0.32264 | 1.0947 | FALSE | FALSE | TRUE
0 | 12 | 3 | 0 | 03:00 | 6.9472 | 1.5542 | 5.393 | 0.22372 | FALSE | FALSE | FALSE
0 | 13 | 3 | 15 | 03:15 | 7.4029 | 0.97635 | 6.4266 | 0.13189 | FALSE | FALSE | FALSE
0 | 14 | 3 | 30 | 03:30 | 4.2288 | 4.5381 | -0.30926 | 1.0731 | FALSE | FALSE | TRUE
0 | 15 | 3 | 45 | 03:45 | 6.6612 | 4.0138 | 2.6474 | 0.60256 | FALSE | FALSE | FALSE
0 | 16 | 4 | 0 | 04:00 | 4.9112 | 3.8825 | 1.0286 | 0.79055 | FALSE | FALSE | FALSE
0 | 17 | 4 | 15 | 04:15 | 2.6168 | 0.778 | 1.8388 | 0.29731 | FALSE | FALSE | FALSE
0 | 18 | 4 | 30 | 04:30 | 5.5097 | 4.0486 | 1.4611 | 0.73482 | FALSE | FALSE | FALSE
0 | 19 | 4 | 45 | 04:45 | 5.6611 | 4.0793 | 1.5818 | 0.72058 | FALSE | FALSE | FALSE
0 | 20 | 5 | 0 | 05:00 | 1.6421 | 3.19 | -1.5479 | 1.9426 | FALSE | TRUE | TRUE
0 | 21 | 5 | 15 | 05:15 | 3.5968 | 4.0428 | -0.44609 | 1.124 | FALSE | FALSE | TRUE
0 | 22 | 5 | 30 | 05:30 | 5.599 | 4.1448 | 1.4542 | 0.74027 | FALSE | FALSE | FALSE
0 | 23 | 5 | 45 | 05:45 | 8.1306 | 2.6306 | 5.5 | 0.32354 | FALSE | FALSE | FALSE
0 | 24 | 6 | 0 | 06:00 | 8.8779 | 2.8457 | 6.0321 | 0.32054 | FALSE | FALSE | FALSE
0 | 25 | 6 | 15 | 06:15 | 2.9599 | 1.3319 | 1.628 | 0.44999 | FALSE | FALSE | FALSE
0 | 26 | 6 | 30 | 06:30 | 1.4696 | 0.27614 | 1.1935 | 0.1879 | FALSE | TRUE | FALSE
0 | 27 | 6 | 45 | 06:45 | 8.3677 | 2.0134 | 6.3543 | 0.24062 | FALSE | FALSE | FALSE
0 | 28 | 7 | 0 | 07:00 | 1.8098 | 4.2824 | -2.4726 | 2.3662 | FALSE | TRUE | TRUE
0 | 29 | 7 | 15 | 07:15 | 1.3856 | 4.503 | -3.1175 | 3.25 | FALSE | TRUE | TRUE
0 | 30 | 7 | 30 | 07:30 | 6.1648 | 4.1125 | 2.0522 | 0.6671 | FALSE | FALSE | FALSE
0 | 31 | 7 | 45 | 07:45 | 4.0502 | 0.36985 | 3.6803 | 0.091317 | FALSE | FALSE | FALSE
0 | 32 | 8 | 0 | 08:00 | 6.7859 | 2.2278 | 4.5581 | 0.3283 | FALSE | FALSE | FALSE
0 | 33 | 8 | 15 | 08:15 | 1.1055 | 1.7361 | -0.63052 | 1.5703 | FALSE | TRUE | TRUE
0 | 34 | 8 | 30 | 08:30 | 6.1926 | 1.4152 | 4.7774 | 0.22853 | FALSE | FALSE | FALSE
0 | 35 | 8 | 45 | 08:45 | 6.1708 | 4.2762 | 1.8947 | 0.69297 | FALSE | FALSE | FALSE
0 | 36 | 9 | 0 | 09:00 | 2.1422 | 0.47187 | 1.6703 | 0.22027 | FALSE | TRUE | FALSE
0 | 37 | 9 | 15 | 09:15 | 7.6636 | 2.5768 | 5.0868 | 0.33624 | FALSE | FALSE | FALSE
0 | 38 | 9 | 30 | 09:30 | 5.7759 | 2.7802 | 2.9957 | 0.48135 | FALSE | FALSE | FALSE
0 | 39 | 9 | 45 | 09:45 | 3.7655 | 4.0649 | -0.29932 | 1.0795 | FALSE | FALSE | TRUE
0 | 40 | 10 | 0 | 10:00 | 9.3909 | 1.6018 | 7.7892 | 0.17056 | TRUE | FALSE | FALSE
0 | 41 | 10 | 15 | 10:15 | 9.647 | 1.1368 | 8.5102 | 0.11784 | TRUE | FALSE | FALSE
0 | 42 | 10 | 30 | 10:30 | 7.7899 | 0.41587 | 7.3741 | 0.053385 | FALSE | FALSE | FALSE
0 | 43 | 10 | 45 | 10:45 | 3.7316 | 3.6371 | 0.094582 | 0.97465 | FALSE | FALSE | FALSE
0 | 44 | 11 | 0 | 11:00 | 6.1219 | 3.9335 | 2.1884 | 0.64253 | FALSE | FALSE | FALSE
0 | 45 | 11 | 15 | 11:15 | 9.3612 | 0.21175 | 9.1495 | 0.022619 | TRUE | FALSE | FALSE
0 | 46 | 11 | 30 | 11:30 | 3.0848 | 4.4276 | -1.3427 | 1.4353 | FALSE | FALSE | TRUE
0 | 47 | 11 | 45 | 11:45 | 4.4143 | 4.5748 | -0.16047 | 1.0364 | FALSE | FALSE | TRUE
0 | 48 | 12 | 0 | 12:00 | 7.4172 | 4.8227 | 2.5945 | 0.6502 | FALSE | FALSE | FALSE
0 | 49 | 12 | 15 | 12:15 | 2.4184 | 1.926 | 0.49243 | 0.79638 | FALSE | FALSE | FALSE
0 | 50 | 12 | 30 | 12:30 | 7.4348 | 0.38743 | 7.0474 | 0.052111 | FALSE | FALSE | FALSE
0 | 51 | 12 | 45 | 12:45 | 9.2469 | 3.889 | 5.3579 | 0.42057 | TRUE | FALSE | FALSE
0 | 52 | 13 | 0 | 13:00 | 7.1839 | 1.5245 | 5.6595 | 0.2122 | FALSE | FALSE | FALSE
0 | 53 | 13 | 15 | 13:15 | 8.6479 | 2.1631 | 6.4848 | 0.25013 | FALSE | FALSE | FALSE
0 | 54 | 13 | 30 | 13:30 | 8.4958 | 0.23554 | 8.2603 | 0.027724 | FALSE | FALSE | FALSE
0 | 55 | 13 | 45 | 13:45 | 5.6754 | 0.48255 | 5.1929 | 0.085024 | FALSE | FALSE | FALSE
0 | 56 | 14 | 0 | 14:00 | 5.2508 | 1.9996 | 3.2512 | 0.38082 | FALSE | FALSE | FALSE
0 | 57 | 14 | 15 | 14:15 | 6.1474 | 2.1731 | 3.9743 | 0.3535 | FALSE | FALSE | FALSE
0 | 58 | 14 | 30 | 14:30 | 7.195 | 1.5397 | 5.6552 | 0.214 | FALSE | FALSE | FALSE
0 | 59 | 14 | 45 | 14:45 | 3.4989 | 0.52013 | 2.9788 | 0.14866 | FALSE | FALSE | FALSE
0 | 60 | 15 | 0 | 15:00 | 7.1726 | 1.6157 | 5.5569 | 0.22526 | FALSE | FALSE | FALSE
0 | 61 | 15 | 15 | 15:15 | 3.7316 | 0.47672 | 3.2549 | 0.12775 | FALSE | FALSE | FALSE
0 | 62 | 15 | 30 | 15:30 | 9.2114 | 3.2264 | 5.985 | 0.35026 | TRUE | FALSE | FALSE
0 | 63 | 15 | 45 | 15:45 | 5.7275 | 4.2314 | 1.4961 | 0.73879 | FALSE | FALSE | FALSE
0 | 64 | 16 | 0 | 16:00 | 7.7307 | 1.4033 | 6.3273 | 0.18153 | FALSE | FALSE | FALSE
0 | 65 | 16 | 15 | 16:15 | 2.4866 | 1.7564 | 0.73021 | 0.70634 | FALSE | FALSE | FALSE
0 | 66 | 16 | 30 | 16:30 | 3.7822 | 4.4255 | -0.64333 | 1.1701 | FALSE | FALSE | TRUE
0 | 67 | 16 | 45 | 16:45 | 2.6089 | 3.9126 | -1.3036 | 1.4997 | FALSE | FALSE | TRUE
0 | 68 | 17 | 0 | 17:00 | 4.6184 | 3.8444 | 0.774 | 0.83241 | FALSE | FALSE | FALSE
0 | 69 | 17 | 15 | 17:15 | 8.145 | 2.704 | 5.441 | 0.33198 | FALSE | FALSE | FALSE
0 | 70 | 17 | 30 | 17:30 | 8.3026 | 1.1532 | 7.1494 | 0.13889 | FALSE | FALSE | FALSE
0 | 71 | 17 | 45 | 17:45 | 4.4033 | 0.62612 | 3.7772 | 0.14219 | FALSE | FALSE | FALSE
0 | 72 | 18 | 0 | 18:00 | 9.6749 | 0.72356 | 8.9513 | 0.074788 | TRUE | FALSE | FALSE
0 | 73 | 18 | 15 | 18:15 | 9.1715 | 0.41576 | 8.7558 | 0.045331 | TRUE | FALSE | FALSE
0 | 74 | 18 | 30 | 18:30 | 9.5354 | 2.0025 | 7.5328 | 0.21001 | TRUE | FALSE | FALSE
0 | 75 | 18 | 45 | 18:45 | 8.1655 | 3.2938 | 4.8717 | 0.40338 | FALSE | FALSE | FALSE
0 | 76 | 19 | 0 | 19:00 | 4.2824 | 3.2663 | 1.0161 | 0.76272 | FALSE | FALSE | FALSE
0 | 77 | 19 | 15 | 19:15 | 3.6358 | 1.5037 | 2.1321 | 0.41357 | FALSE | FALSE | FALSE
0 | 78 | 19 | 30 | 19:30 | 1.8676 | 3.6142 | -1.7466 | 1.9352 | FALSE | TRUE | TRUE
0 | 79 | 19 | 45 | 19:45 | 1.2461 | 1.2982 | -0.05215 | 1.0419 | FALSE | TRUE | TRUE
0 | 80 | 20 | 0 | 20:00 | 3.6697 | 2.3836 | 1.2862 | 0.64952 | FALSE | FALSE | FALSE
0 | 81 | 20 | 15 | 20:15 | 6.4549 | 3.8524 | 2.6025 | 0.59682 | FALSE | FALSE | FALSE
0 | 82 | 20 | 30 | 20:30 | 8.329 | 3.2492 | 5.0797 | 0.39011 | FALSE | FALSE | FALSE
0 | 83 | 20 | 45 | 20:45 | 9.5417 | 0.65881 | 8.8829 | 0.069046 | TRUE | FALSE | FALSE
0 | 84 | 21 | 0 | 21:00 | 1.4865 | 3.396 | -1.9095 | 2.2846 | FALSE | TRUE | TRUE
0 | 85 | 21 | 15 | 21:15 | 6.2307 | 1.2297 | 5.001 | 0.19737 | FALSE | FALSE | FALSE
0 | 86 | 21 | 30 | 21:30 | 7.3122 | 3.4791 | 3.8331 | 0.47579 | FALSE | FALSE | FALSE
0 | 87 | 21 | 45 | 21:45 | 7.4775 | 0.97348 | 6.504 | 0.13019 | FALSE | FALSE | FALSE
0 | 88 | 22 | 0 | 22:00 | 8.3911 | 2.6193 | 5.7718 | 0.31215 | FALSE | FALSE | FALSE
0 | 89 | 22 | 15 | 22:15 | 7.9636 | 1.4267 | 6.5369 | 0.17916 | FALSE | FALSE | FALSE
0 | 90 | 22 | 30 | 22:30 | 2.8937 | 2.0379 | 0.8558 | 0.70426 | FALSE | FALSE | FALSE
0 | 91 | 22 | 45 | 22:45 | 8.0316 | 0.93593 | 7.0957 | 0.11653 | FALSE | FALSE | FALSE
0 | 92 | 23 | 0 | 23:00 | 9.5636 | 1.3568 | 8.2068 | 0.14187 | TRUE | FALSE | FALSE
0 | 93 | 23 | 15 | 23:15 | 6.3186 | 3.59 | 2.7286 | 0.56816 | FALSE | FALSE | FALSE
0 | 94 | 23 | 30 | 23:30 | 6.774 | 2.6639 | 4.1101 | 0.39325 | FALSE | FALSE | FALSE
0 | 95 | 23 | 45 | 23:45 | 8.8406 | 4.2185 | 4.6221 | 0.47717 | FALSE | FALSE | FALSE

## Interventions
target_type | target_id | intervention_type | size_kw | cost_eur | annual_savings_eur | co2_reduction_tons | payback_years | priority | network_benefit | cascade_potential | recommendation
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | battery_storage | 0 | 21391.3212 | 2631.1325 | 0 | 0 | 1370.865 | 0.5 | 0.5 | grid_stability
cluster | CLUSTER_0000 | solar_pv | 0 | 15805.8729 | 0 | 13.8459 | 0 | 317.7271 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 15415.5187 | 0 | 13.504 | 0 | 317.5122 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 14912.7812 | 0 | 13.0636 | 0 | 317.2355 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 14521.5715 | 0 | 12.7209 | 0 | 317.0202 | 0.5 | 0.5 | reduced_grid_stress

## Network
cluster_id | num_buildings | avg_centrality | max_centrality | cascade_1_hop | cascade_2_hop | cascade_3_hop | transformer_loading | line_utilization | voltage_deviation | correlation_1_hop | correlation_2_hop | correlation_3_hop | network_role | intervention_impact
0 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | Connector | 0.35

## Economics
cluster_id | num_buildings | total_investment_eur | solar_investment_eur | battery_investment_eur | annual_savings_eur | annual_co2_reduction_tons | avg_payback_years | roi_10_years | npv_20_years | investment_per_building_eur | savings_per_building_eur | economic_viability
0 | 1 | 132047.0655 | 0 | 0 | 2631.1325 | 60.6344 | 0 | -0.80074 | -99257.3388 | 132047.0655 | 2631.1325 | Unknown