## Buildings
building_id | cluster_id | lv_group | area_m2 | height_m | age_years | energy_label | peak_demand_kw | base_load_kw | annual_consumption_kwh | roof_area_m2 | solar_potential_kw | solar_suitability | has_solar | has_battery | has_heat_pump | cluster_probability | network_centrality | intervention_priority | morning_peak_kw | evening_peak_kw | night_minimum_kw | load_factor
BLDG_0000 | 0 | LV_GROUP_0004 | 100 | 10 | 20 | D | 5 | 1 | 5000 | 50 | 10 | high | FALSE | FALSE | FALSE | 1 | 0.5 | 0.5 | 9.0527 | 9.1239 | 1.0307 | 0.57667

## Clusters
cluster_id | lv_group | num_buildings | total_area_m2 | avg_age_years | total_peak_demand_kw | total_base_load_kw | total_annual_consumption_mwh | self_sufficiency | complementarity_score | peak_reduction | network_stress | peak_hours | valley_hours | peak_valley_ratio
0 | LV_GROUP_0004 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [2, 6, 7, 9, 14] | [11, 15, 21, 22, 23] | 2.2014

## Temporal
cluster_id | timestep | hour | minute | time_label | consumption_kw | generation_kw | net_demand_kw | self_sufficiency_instant | is_peak | is_valley | is_surplus
0 | 0 | 0 | 0 | 00:00 | 1.0307 | 2.1493 | -1.1186 | 2.0852 | FALSE | TRUE | TRUE
0 | 1 | 0 | 15 | 00:15 | 8.5276 | 0.79567 | 7.7319 | 0.093306 | FALSE | FALSE | FALSE
0 | 2 | 0 | 30 | 00:30 | 9.6475 | 0.084691 | 9.5628 | 0.0087785 | TRUE | FALSE | FALSE
0 | 3 | 0 | 45 | 00:45 | 4.7813 | 2.0176 | 2.7636 | 0.42199 | FALSE | FALSE | FALSE
0 | 4 | 1 | 0 | 01:00 | 8.2027 | 0.31676 | 7.886 | 0.038617 | FALSE | FALSE | FALSE
0 | 5 | 1 | 15 | 01:15 | 4.4722 | 3.7915 | 0.68071 | 0.84779 | FALSE | FALSE | FALSE
0 | 6 | 1 | 30 | 01:30 | 8.7589 | 1.1952 | 7.5637 | 0.13646 | TRUE | FALSE | FALSE
0 | 7 | 1 | 45 | 01:45 | 4.0898 | 4.532 | -0.44225 | 1.1081 | FALSE | FALSE | TRUE
0 | 8 | 2 | 0 | 02:00 | 3.4513 | 0.23414 | 3.2172 | 0.06784 | FALSE | FALSE | FALSE
0 | 9 | 2 | 15 | 02:15 | 8.5405 | 4.7476 | 3.7928 | 0.5559 | FALSE | FALSE | FALSE
0 | 10 | 2 | 30 | 02:30 | 8.2439 | 2.8273 | 5.4166 | 0.34296 | FALSE | FALSE | FALSE
0 | 11 | 2 | 45 | 02:45 | 8.7381 | 0.3854 | 8.3527 | 0.044105 | FALSE | FALSE | FALSE
0 | 12 | 3 | 0 | 03:00 | 7.2566 | 1.5845 | 5.6722 | 0.21835 | FALSE | FALSE | FALSE
0 | 13 | 3 | 15 | 03:15 | 3.5429 | 0.31554 | 3.2274 | 0.089062 | FALSE | FALSE | FALSE
0 | 14 | 3 | 30 | 03:30 | 7.0631 | 2.6592 | 4.4039 | 0.37649 | FALSE | FALSE | FALSE
0 | 15 | 3 | 45 | 03:45 | 8.8069 | 2.7911 | 6.0158 | 0.31692 | TRUE | FALSE | FALSE
0 | 16 | 4 | 0 | 04:00 | 7.4767 | 2.4334 | 5.0433 | 0.32547 | FALSE | FALSE | FALSE
0 | 17 | 4 | 15 | 04:15 | 7.2272 | 1.558 | 5.6691 | 0.21558 | FALSE | FALSE | FALSE
0 | 18 | 4 | 30 | 04:30 | 2.7812 | 4.5539 | -1.7727 | 1.6374 | FALSE | FALSE | TRUE
0 | 19 | 4 | 45 | 04:45 | 6.8933 | 0.16035 | 6.733 | 0.023262 | FALSE | FALSE | FALSE
0 | 20 | 5 | 0 | 05:00 | 5.4448 | 1.161 | 4.2837 | 0.21324 | FALSE | FALSE | FALSE
0 | 21 | 5 | 15 | 05:15 | 5.7295 | 2.2444 | 3.4852 | 0.39172 | FALSE | FALSE | FALSE
0 | 22 | 5 | 30 | 05:30 | 2.4084 | 2.946 | -0.5376 | 1.2232 | FALSE | FALSE | TRUE
0 | 23 | 5 | 45 | 05:45 | 6.2261 | 0.35706 | 5.8691 | 0.057349 | FALSE | FALSE | FALSE
0 | 24 | 6 | 0 | 06:00 | 6.7223 | 2.2494 | 4.4729 | 0.33462 | FALSE | FALSE | FALSE
0 | 25 | 6 | 15 | 06:15 | 9.0527 | 4.8573 | 4.1954 | 0.53656 | TRUE | FALSE | FALSE
0 | 26 | 6 | 30 | 06:30 | 5.7601 | 4.89 | 0.87005 | 0.84895 | FALSE | FALSE | FALSE
0 | 27 | 6 | 45 | 06:45 | 8.7193 | 3.0176 | 5.7017 | 0.34608 | FALSE | FALSE | FALSE
0 | 28 | 7 | 0 | 07:00 | 8.743 | 2.8241 | 5.9189 | 0.32301 | FALSE | FALSE | FALSE
0 | 29 | 7 | 15 | 07:15 | 6.4108 | 2.3589 | 4.0519 | 0.36795 | FALSE | FALSE | FALSE
0 | 30 | 7 | 30 | 07:30 | 7.3038 | 3.0706 | 4.2332 | 0.42041 | FALSE | FALSE | FALSE
0 | 31 | 7 | 45 | 07:45 | 6.0444 | 4.6677 | 1.3767 | 0.77223 | FALSE | FALSE | FALSE
0 | 32 | 8 | 0 | 08:00 | 2.053 | 4.8864 | -2.8335 | 2.3802 | FALSE | FALSE | TRUE
0 | 33 | 8 | 15 | 08:15 | 5.3263 | 3.8414 | 1.4849 | 0.72121 | FALSE | FALSE | FALSE
0 | 34 | 8 | 30 | 08:30 | 7.69 | 2.8316 | 4.8584 | 0.36822 | FALSE | FALSE | FALSE
0 | 35 | 8 | 45 | 08:45 | 8.9438 | 0.28049 | 8.6633 | 0.031362 | TRUE | FALSE | FALSE
0 | 36 | 9 | 0 | 09:00 | 7.8597 | 3.3513 | 4.5084 | 0.42638 | FALSE | FALSE | FALSE
0 | 37 | 9 | 15 | 09:15 | 7.2051 | 0.77933 | 6.4258 | 0.10816 | FALSE | FALSE | FALSE
0 | 38 | 9 | 30 | 09:30 | 3.9301 | 3.2521 | 0.67806 | 0.82747 | FALSE | FALSE | FALSE
0 | 39 | 9 | 45 | 09:45 | 8.7526 | 4.0947 | 4.6579 | 0.46782 | TRUE | FALSE | FALSE
0 | 40 | 10 | 0 | 10:00 | 9.6522 | 2.1425 | 7.5097 | 0.22197 | TRUE | FALSE | FALSE
0 | 41 | 10 | 15 | 10:15 | 2.4936 | 1.083 | 1.4106 | 0.4343 | FALSE | FALSE | FALSE
0 | 42 | 10 | 30 | 10:30 | 5.7963 | 0.40827 | 5.3881 | 0.070435 | FALSE | FALSE | FALSE
0 | 43 | 10 | 45 | 10:45 | 4.0342 | 2.0315 | 2.0026 | 0.50358 | FALSE | FALSE | FALSE
0 | 44 | 11 | 0 | 11:00 | 2.2856 | 3.9597 | -1.6741 | 1.7324 | FALSE | FALSE | TRUE
0 | 45 | 11 | 15 | 11:15 | 5.818 | 2.0661 | 3.7519 | 0.35512 | FALSE | FALSE | FALSE
0 | 46 | 11 | 30 | 11:30 | 1.0242 | 4.2537 | -3.2295 | 4.1531 | FALSE | TRUE | TRUE
0 | 47 | 11 | 45 | 11:45 | 6.2575 | 1.4361 | 4.8214 | 0.22949 | FALSE | FALSE | FALSE
0 | 48 | 12 | 0 | 12:00 | 3.8473 | 4.753 | -0.90573 | 1.2354 | FALSE | FALSE | TRUE
0 | 49 | 12 | 15 | 12:15 | 1.9522 | 2.1158 | -0.16366 | 1.0838 | FALSE | FALSE | TRUE
0 | 50 | 12 | 30 | 12:30 | 9.35 | 4.163 | 5.1869 | 0.44525 | TRUE | FALSE | FALSE
0 | 51 | 12 | 45 | 12:45 | 4.093 | 1.4805 | 2.6125 | 0.36172 | FALSE | FALSE | FALSE
0 | 52 | 13 | 0 | 13:00 | 8.8827 | 4.2092 | 4.6735 | 0.47386 | TRUE | FALSE | FALSE
0 | 53 | 13 | 15 | 13:15 | 4.0237 | 1.7894 | 2.2342 | 0.44473 | FALSE | FALSE | FALSE
0 | 54 | 13 | 30 | 13:30 | 8.3344 | 0.10916 | 8.2252 | 0.013098 | FALSE | FALSE | FALSE
0 | 55 | 13 | 45 | 13:45 | 6.1316 | 1.8238 | 4.3077 | 0.29745 | FALSE | FALSE | FALSE
0 | 56 | 14 | 0 | 14:00 | 8.3564 | 0.28609 | 8.0703 | 0.034236 | FALSE | FALSE | FALSE
0 | 57 | 14 | 15 | 14:15 | 5.2046 | 1.2148 | 3.9898 | 0.23341 | FALSE | FALSE | FALSE
0 | 58 | 14 | 30 | 14:30 | 5.2894 | 3.639 | 1.6505 | 0.68797 | FALSE | FALSE | FALSE
0 | 59 | 14 | 45 | 14:45 | 8.7482 | 3.2967 | 5.4514 | 0.37685 | FALSE | FALSE | FALSE
0 | 60 | 15 | 0 | 15:00 | 5.7893 | 4.3883 | 1.4009 | 0.75801 | FALSE | FALSE | FALSE
0 | 61 | 15 | 15 | 15:15 | 3.9666 | 3.3833 | 0.5833 | 0.85295 | FALSE | FALSE | FALSE
0 | 62 | 15 | 30 | 15:30 | 4.2564 | 3.1348 | 1.1216 | 0.7365 | FALSE | FALSE | FALSE
0 | 63 | 15 | 45 | 15:45 | 1.1106 | 2.4631 | -1.3525 | 2.2178 | FALSE | TRUE | TRUE
0 | 64 | 16 | 0 | 16:00 | 5.7556 | 1.1132 | 4.6424 | 0.19341 | FALSE | FALSE | FALSE
0 | 65 | 16 | 15 | 16:15 | 5.3024 | 2.7723 | 2.5301 | 0.52284 | FALSE | FALSE | FALSE
0 | 66 | 16 | 30 | 16:30 | 6.6872 | 0.63678 | 6.0504 | 0.095224 | FALSE | FALSE | FALSE
0 | 67 | 16 | 45 | 16:45 | 2.2752 | 3.9284 | -1.6531 | 1.7266 | FALSE | FALSE | TRUE
0 | 68 | 17 | 0 | 17:00 | 6.9811 | 4.2331 | 2.748 | 0.60636 | FALSE | FALSE | FALSE
0 | 69 | 17 | 15 | 17:15 | 7.1275 | 1.571 | 5.5565 | 0.22042 | FALSE | FALSE | FALSE
0 | 70 | 17 | 30 | 17:30 | 2.6548 | 1.2536 | 1.4012 | 0.4722 | FALSE | FALSE | FALSE
0 | 71 | 17 | 45 | 17:45 | 6.7497 | 0.99098 | 5.7588 | 0.14682 | FALSE | FALSE | FALSE
0 | 72 | 18 | 0 | 18:00 | 3.3555 | 2.8009 | 0.5546 | 0.83472 | FALSE | FALSE | FALSE
0 | 73 | 18 | 15 | 18:15 | 4.2438 | 4.0846 | 0.15912 | 0.96251 | FALSE | FALSE | FALSE
0 | 74 | 18 | 30 | 18:30 | 6.3638 | 0.28857 | 6.0752 | 0.045345 | FALSE | FALSE | FALSE
0 | 75 | 18 | 45 | 18:45 | 1.9127 | 1.771 | 0.14173 | 0.9259 | FALSE | TRUE | FALSE
0 | 76 | 19 | 0 | 19:00 | 6.3589 | 3.1965 | 3.1625 | 0.50268 | FALSE | FALSE | FALSE
0 | 77 | 19 | 15 | 19:15 | 4.5537 | 4.7624 | -0.20866 | 1.0458 | FALSE | FALSE | TRUE
0 | 78 | 19 | 30 | 19:30 | 9.1239 | 1.1982 | 7.9257 | 0.13133 | TRUE | FALSE | FALSE
0 | 79 | 19 | 45 | 19:45 | 4.5978 | 4.3146 | 0.28313 | 0.93842 | FALSE | FALSE | FALSE
0 | 80 | 20 | 0 | 20:00 | 5.5189 | 2.3321 | 3.1868 | 0.42256 | FALSE | FALSE | FALSE
0 | 81 | 20 | 15 | 20:15 | 1.631 | 1.3515 | 0.27949 | 0.82863 | FALSE | TRUE | FALSE
0 | 82 | 20 | 30 | 20:30 | 6.4365 | 1.1304 | 5.3061 | 0.17563 | FALSE | FALSE | FALSE
0 | 83 | 20 | 45 | 20:45 | 6.1364 | 0.34469 | 5.7917 | 0.056171 | FALSE | FALSE | FALSE
0 | 84 | 21 | 0 | 21:00 | 1.4267 | 3.6116 | -2.1849 | 2.5314 | FALSE | TRUE | TRUE
0 | 85 | 21 | 15 | 21:15 | 6.2961 | 4.8211 | 1.475 | 0.76572 | FALSE | FALSE | FALSE
0 | 86 | 21 | 30 | 21:30 | 4.9051 | 0.77515 | 4.1299 | 0.15803 | FALSE | FALSE | FALSE
0 | 87 | 21 | 45 | 21:45 | 1.1156 | 3.4018 | -2.2862 | 3.0493 | FALSE | TRUE | TRUE
0 | 88 | 22 | 0 | 22:00 | 3.8695 | 1.0949 | 2.7746 | 0.28296 | FALSE | FALSE | FALSE
0 | 89 | 22 | 15 | 22:15 | 1.6346 | 2.5497 | -0.91514 | 1.5599 | FALSE | TRUE | TRUE
0 | 90 | 22 | 30 | 22:30 | 5.7501 | 4.778 | 0.97212 | 0.83094 | FALSE | FALSE | FALSE
0 | 91 | 22 | 45 | 22:45 | 3.8968 | 4.351 | -0.45417 | 1.1166 | FALSE | FALSE | TRUE
0 | 92 | 23 | 0 | 23:00 | 6.405 | 4.5681 | 1.8369 | 0.71321 | FALSE | FALSE | FALSE
0 | 93 | 23 | 15 | 23:15 | 1.5728 | 4.6721 | -3.0993 | 2.9706 | FALSE | TRUE | TRUE
0 | 94 | 23 | 30 | 23:30 | 5.807 | 3.32 | 2.4871 | 0.57171 | FALSE | FALSE | FALSE
0 | 95 | 23 | 45 | 23:45 | 1.3467 | 0.20652 | 1.1402 | 0.15335 | FALSE | TRUE | FALSE

## Interventions
target_type | target_id | intervention_type | size_kw | cost_eur | annual_savings_eur | co2_reduction_tons | payback_years | priority | network_benefit | cascade_potential | recommendation
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | building_retrofit | 0 | 50000 | 0 | 7.5 | 0 | 6316.2258 | 0.5 | 0.5 | comfort
cluster | CLUSTER_0000 | battery_storage | 0 | 24700.4223 | 3038.1519 | 0 | 0 | 1534.3341 | 0.5 | 0.5 | grid_stability
cluster | CLUSTER_0000 | solar_pv | 0 | 15875.7662 | 0 | 13.9072 | 0 | 317.7655 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 15523.9625 | 0 | 13.599 | 0 | 317.5719 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 15452.9466 | 0 | 13.5368 | 0 | 317.5328 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 15412.1808 | 0 | 13.5011 | 0 | 317.5104 | 0.5 | 0.5 | reduced_grid_stress
cluster | CLUSTER_0000 | solar_pv | 0 | 8329.0923 | 0 | 7.2963 | 0 | 313.6118 | 0.5 | 0.5 | reduced_grid_stress

## Network
cluster_id | num_buildings | avg_centrality | max_centrality | cascade_1_hop | cascade_2_hop | cascade_3_hop | transformer_loading | line_utilization | voltage_deviation | correlation_1_hop | correlation_2_hop | correlation_3_hop | network_role | intervention_impact
0 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | Connector | 0.35

## Economics
cluster_id | num_buildings | total_investment_eur | solar_investment_eur | battery_investment_eur | annual_savings_eur | annual_co2_reduction_tons | avg_payback_years | roi_10_years | npv_20_years | investment_per_building_eur | savings_per_building_eur | economic_viability
0 | 1 | 295294.3707 | 0 | 0 | 3038.1519 | 91.8403 | 0 | -0.89711 | -257432.2821 | 295294.3707 | 3038.1519 | Unknown